## Slide 1
EE 261, Spring 2025, Lecture 3
Goals/Topics:
More on (practice with) passive sign convention
More on current and charge
More on electrical energy and power
(Independent) Voltage and current sources
Resistors & Ohm’s law
Announcements: HW 0 due Sunday.
HW 1 posted (Mastering and Handwritten parts). Due Wednesday.
Best viewed in presentation mode in PowerPoint.

## Slide 2
If the (assumed) direction of current is
into the (assumed) higher voltage “terminal” of an element,
the voltage and current are related with a positive sign.
Otherwise use a negative sign.
Power:
Power:
Passive Sign Convention
Recall:
Consumed power is positive.
Delivered power is negative.
Independent of these figures:
Delivering or consuming power?
Don’t know until we have and !
Either or or both can be negative.
Amps,
Volts,

## Slide 3
Charge does not accumulate in elements.
What flows in flows out.
Thus:
Current flowing into positive terminal.
Current flowing into negative terminal.

## Slide 4
For the component below, the current is and
the voltage is . This component is:
Consuming power.
Delivering power.
Positive (because it worked out that way).
Positive because of passive sign convention.
(Like water flowing downhill.)

## Slide 5
Once you have current directions and voltage polarities labeled, don’t change them! You’ll typically confuse yourself or make mistakes if you do.
Once you have current directions and voltage polarities labeled, don’t change them! You’ll typically confuse yourself or make mistakes if you do.
For the component below, the current is and
the voltage is . This component is:
Consuming power.
Delivering power.
Negative (because it worked out that way).
Let negatives be negatives.
Positive because of passive sign convention.
(Like water flowing uphill.)

## Slide 6
For the component below, the current is and
the voltage is . This component is:
Consuming power.
Delivering power.
Negative because of passive sign convention.
Positive (because it worked out that way).
Set up equations correctly (paying attention to passive sign convention), and then everything just works out.
(Like water flowing downhill.)

## Slide 7
Homework 1-Related: Determine and when voltage drop between terminals 1 and 2 is 5.4 mV and current entering terminal 1 is 1.2 mA.
current entering terminal 1 is 1.2 mA.
terminals 1 and 2 is 5.4 mV
voltage drop between
Indicated polarity and current direction are independent of the description you are given.
Note: This is contained in a “tutorial,” but it is part of graded HW.
Indicated polarity.
Indicated direction of current flow.
1.2 mA
Could say: “drop from terminal 1 to terminal 2 is .”
5.4 mV
Same.

## Slide 8
5.4
–1.2
5.4 mV
–5.4
–1.2
1.2 mA
This component is:
Consuming power.
Delivering power.
Polarity indicator
Polarity indicator
Note: This is contained in a “tutorial,” but it is part of graded HW.
Could say: “drop from terminal 1 to terminal 2 is .”
1.2 mA
5.4 mV
Homework 1-Related: Determine and when voltage drop between terminals 1 and 2 is 5.4 mV and current entering terminal 1 is 1.2 mA.
current entering terminal 1 is 1.2 mA.
terminals 1 and 2 is 5.4 mV
voltage drop between
Indicated polarity and current direction are independent of the description you are given.
Same.
Into negative terminal.
Opposite.

## Slide 9
Charge does not accumulate in any portion of circuit.
What flows in flows out.
Thus:

## Slide 10
Current:
Rearrange:
Total amount of charge that flowed between times and :
Can integrate to obtain amount of charge that flowed.

## Slide 11
Dummy integration variable to distinguish from upper limit .
Power:
Rearrange:
Energy:
Energy associated with a system, from dawn of time, to present moment is:
Utility bills you for consumed energy in units of kilowatt-hours:
Does power utility bill you for power or energy?
Dummy integration variable to distinguish from upper limit .

## Slide 12
Consider: (for )
and .
Consider: (for )
and .
Power?
Energy, ?
Monotonically increases (never decreases).
Increases then decreases.
Requires further calculation.
Always positive.
Assume if no other information available.
But asymptotically approaches a constant.

## Slide 13
WolframAlpha is your friend!
Entered:
(Or similar sites/software.)
Got:
Plugged into MATLAB.
Can ask WolframAlpha for integral from to for total energy.
J

## Slide 14
(Ideal) “Sources”
Voltage or current sources.
Independent or dependent sources.
Independent voltage source:
Maintains a difference in potential across terminals.
Similar to a constant pressure pump.
As a byproduct, provides whatever current flow is needed to maintain voltage (except infinite current).
Perfectly fine to have zero current flow.
Perfectly fine to have current flow in either direction.
Instead of a “voltage source,” could (should?) call this a “voltage maintainer.”
Sources may deliver energy (e.g., a battery being discharged).
Sources may consume energy (e.g., a battery being charged).
(Ideal) “Sources”
Will discuss later.
(But we don’t.)

## Slide 15
Independent current source:
Maintains a flow of charge.
Similar to a constant flow (flow rate) pump.
As a byproduct, creates whatever voltage is needed to maintain current (except infinite voltage).
Perfectly fine to have no voltage () across source.

## Slide 16
Independent current source:
Maintains a flow of charge.
Similar to a constant flow (flow rate) pump.
As a byproduct, creates whatever voltage is needed to maintain current (except infinite voltage).
Perfectly fine to have no voltage () across source.
Perfectly fine to have voltage of either polarity.

## Slide 17
Independent current source:
Maintains a flow of charge.
Similar to a constant flow (flow rate) pump.
As a byproduct, creates whatever voltage is needed to maintain current (except infinite voltage).
Perfectly fine to have no voltage () across source.
Perfectly fine to have voltage of either polarity.
Instead of a “current source,” could (should?) call this a “current maintainer.”
(But we don’t.)

## Slide 18
Not Allowed
“Short circuit”
All points on a wire at the same potential.
Source terminals at different potentials.
Contradictory conditions.
(In general, short circuits may be fine, but not here!)
Notes: M.C. Escher’s “Ascending and Descending.”

## Slide 19
Not Allowed
“Open circuit”
No path for current to flow.
Source maintains a flow.
Contradictory conditions.
(In general, open circuits may be fine, but not here!)
This is perfectly okay:
Open circuit.

## Slide 20
Recall: Not Allowed
“Short circuit”
All points on a wire at the same potential.
Source terminals at different potentials.
Contradictory conditions.
(In general, short circuits may be fine, but not here!)
This is perfectly okay:
Short circuit.

## Slide 21
Resistors
- relationship governed by Ohm’s Law:
or
Include minus sign if current flowing into negative terminal!
Resistance has units of ohms, W .
or
Resistor characterized by its resistance .
or
or
How we typically state Ohm’s Law.
Easiest form to interpret?
For a given voltage, the greater the resistance, the smaller the current.
Easiest form to interpret?
For a given voltage, the greater the resistance, the smaller the current.
(rest of circuit)
(rest of circuit)

## Slide 22
Example:
What is ?
dictated by voltage source.
Resistor is consuming power. Voltage source is delivering power.
Resistor is consuming power. Voltage source is delivering power.
Sum of consumed and delivered power is always zero.