## Slide 1
EE 261, Spring 2025, Lecture 5
Goals/Topics:
More on valid (and invalid) circuits
Kirchhoff’s Current Law (KCL)
Kirchhoff’s Voltage Law (KVL)
Resistor power
Announcements:
Homework 1 due tonight.
Homework 2 posted (Mastering & handwritten). Due Wed., Jan. 22.
Best viewed in presentation mode in PowerPoint.

## Slide 2
This is a valid circuit. What is the current ?
Ohm’s Law:
This is a valid circuit. What is the current ?

## Slide 3
Add a ground. Account for changes in voltage moving from bottom to the top.
Is this a valid circuit?
Yes.
No.
Add a ground. Account for changes in voltage moving from bottom to the top.

## Slide 4
What is the current ?
Ohm’s Law:
“source” is consuming power.
Positive power is consumed power.

## Slide 5
Sources are in conflict about difference in potential
from bottom to top. Something must/will break.
Is the circuit shown below a valid circuit?
Yes.
No.
This would be valid if the voltage sources had the exact same voltage.
This would be valid if the voltage sources were replaced by current sources (then they can have different values [see next slide]).
Sources are in conflict about difference in potential
from bottom to top. Something must/will break.
Or, this would be valid if a resistor was between the voltage sources.
All points on a wire have the same voltage.
This would be valid if the voltage sources were replaced by current sources (then they can have different values [see next slide]).

## Slide 6
This is perfectly fine:
What is ?
Current sources dictate that it must be:
Which brings us to…
What flows into the top must flow out.

## Slide 7
Kirchhoff’s Current Law (KCL): The sum of all currents at a node (wire) is zero.
Because charge does not accumulate…
Associate plus sign with current out of node and negative sign with current into node.
or
Associate plus sign with current out of node and negative sign with current into node. (Or vice versa! Just be consistent.)
(out positive; in negative)
(in positive; out negative)

## Slide 8
Equivalently: Sum of currents into a node equals sum of currents out.
(in out)

## Slide 9
Perfectly fine to have all currents flowing into or out of a node (wire).
Consider KCL at upper- left “node.”
Label currents.
KCL:
Assuming currents aren’t all zero, at least one must be positive and at least one must be negative.
Aside: Current source dictates that .
(assumed direction of)
(We will do this routinely when we get to node-voltage analysis.)

## Slide 10
What is in terms of and ?
None of the above
current in current out
Could have considered this node instead. Yields same result.

## Slide 11
Standard procedure for adding voltages around a loop (first, ensure each element has an indicated voltage polarity):
Move around loop in clockwise direction.
If you encounter plus sign first, use plus for element’s voltage.
If you encounter negative sign first, use negative of voltage.
Thus, in KVL equations, indicated voltage drops are positive and voltage gains are negative.
Thus, in KVL equations, indicated voltage drops are positive and voltage gains are negative.
Kirchhoff’s Voltage Law (KVL): The sum of voltages around any closed path is zero.
Because energy is conserved…
If you traverse a circuit and return to the same physical point, you must be back at the starting potential.
May seem backward at first, but simple to follow and will be used throughout this class.
No net change in potential.

## Slide 12
KVL for this circuit is?
For KVL, start at bottom and sum voltages around loop.
Start here.
Move clockwise.
What is in terms of and resistors?
Assume voltage and resistances are known.
Indicated voltage gain (negative).
Indicated voltage drop (positive).

## Slide 13
KVL for this circuit is?
Using Ohm’s Law for resistor voltages yields:
For KVL, start at bottom and sum voltages around loop.
(Series resistors add, but we’ll return to that fact later.)
Start here.
Move clockwise.
What is in terms of and resistors?
Assume voltage and resistances are known.

## Slide 14
KVL for this circuit yields which equation? (Using standard procedure.)
A) B)
C)
D)
E) None of the above
B and D are equivalent equations, hence D is technically correct.
For KVL, stick to having indicated voltage drops as positive and voltage gains as negative (and sum moving in clockwise direction).
However, D does not adhere to “standard procedure.”

## Slide 15
Applying Ohm’s Law yields which equation?
A) B)
C) None of the above
Circuit hasn’t changed!
Still must have:
From KVL:
Passive sign convention & Ohm’s law:
Actual voltages & currents don’t change because of change of labels.

## Slide 16
Power Consumed by a Resistor
For current into positive terminal: and
Ohm’s law
Ohm’s law
Aside: Ohm’s law wheel
https://electriciandenver.com/
Can express , , , or in terms of two of these values.

## Slide 17
Power Consumed by a Resistor
For current into negative terminal: and
Same as before!
Ohm’s law
Ohm’s law
Because , resistors only consume power.
Bottom line: