## Slide 1
EE 261, Spring 2025, Lecture 38
Goals/Topics:
Ideal transformers
Instantaneous (and average) power
Announcements: HW 13 due Sunday, Apr. 27th (last one!).
Final exam Wednesday, Apr. 30, 1:30 to 3:30+ p.m., Fulmer 226.
Review session, Tuesday, Apr. 29, 6:10 p.m., Sloan 175.
Course evaluations open. 1% added to overall score for individuals who complete survey.
Best viewed in presentation mode in PowerPoint.

## Slide 2
KCL:
Phasor Diagram: Parallel Circuit, Variable Capacitor
In general:
Magnitude of I reduced as || gets larger ( gets smaller; gets larger).
Ideally is such that is minimized.
minimum when
®
Magnitude of I reduced as || gets larger ( gets smaller; gets larger).

## Slide 3
Ideal Transformer
Previously consider mutually coupled inductors.
Under certain circumstances, in sinusoidal steady state, voltage and current phasors in the inductors (coils) can simply be related by the “turns ratio.”
Requirements:
Self inductances are large (infinite).
Losses are small (zero).
Coupling coefficient is unity ().
Although these cannot be exactly achieved, in practice it is possible to get close to these conditions.
and are the number of turns in each inductor (coil).
(Several additional details in textbook but do not directly concern us. See Sec. 9.11.)
Circuit diagram:
No ’s or or derivatives!

## Slide 4
If & both directed into or both out of the dots, use (2) with the negative sign. Otherwise use the positive sign.
If & have same sign at the dots, use (1) with the positive sign. Otherwise use the negative sign.
If & both directed into or both out of the dots, use (2) with the negative sign. Otherwise use the positive sign.
Ideal Transformer
(1)
(2)
Dot convention:
If & have same sign at the dots, use (1) with the positive sign. Otherwise use the negative sign.
For transformer shown here:
Turns ratio:
&
(1*)
(2*)
or
or
Circuit diagram:

## Slide 5
Ideal Transformer
a V1 = –V2
I1 = a I2
V1/N1 = –V2/N2
I1N1 = I2N2
a = 1/20
(1/20)V1 = V2
I1 = (1/20) I2
(7/3)V1 = –V2
I1 = –(7/3)I2
a = 7/3

## Slide 6
Transforming a Load
Zin = V1/ I1 = ?
V2 = a V1
I2 = V2 / ZL = a V1 / ZL
I1 = a I2 = a2 V1 / ZL
Zin = V1/ I1 = V1/ (a2 V1 / ZL) = ZL / a2
I2 = V2 / ZL
I1 = a I2
Zin = V1/ I1 = V1/ (a2 V1 / ZL)
Zin = V1/ I1
Zin = ZL / a2
Result is independent of the dots and assumed direction of currents and polarity of voltages!
Transformer governing eq.
Ohm’s law.
Turns ratio is the only thing that matters.
(Removing transformer.)
Zin = V1/ I1 = ?

## Slide 7
Transforming a Load
Transformers important in many other application (e.g., power distribution).
Can use a transformer to match a load to the source circuit for max power transfer.
Impedance seen by source:

## Slide 8
Consider
Same as:

## Slide 9
What is Zab?
A) V1/I1
B) V2/IL
C) (V1 + V2)/I1
D) V1/(I1 + I2)
What is IL?
A) I1 + I2
B) I1 – I2
C) V2/ZL
D) V1/ZL
How are I1 and I2 related?
A) N1I1 = N2I2
B) N1I1 = –N2I2
C) I1/N1 = I2/N2
D) I1/N1 = –I2/N2
Ohm’s law.
Ohm’s law.
KCL.
Dot convention for ideal transformer.
Consider
KCL.

## Slide 10
Zab = (V1 + V2)/I1 (1)
IL= I1 – I2 = V2/ZL (3)
N1I1 = –N2I2 (2)
V1/N1 = V2/N2 (4)
Use (4) in (1) to replace V1:
Zab = (N1/N2 + 1) V2 /I1 (5)
Use (2) in (3) to replace I2:
(1 + N1/N2) I1 = V2/ZL (6)
Use (6) to find V2 /I1 and use in (5):
Zab = ZL (1+ N1/N2)2
From previous slide.
Dot convention ideal transformer.
}
Consider

## Slide 11
Instantaneous Power
Consider a voltage and current in a circuit given by:
Shift to a new time axis.
Let .
Instantaneous power, , given by:
(At , current is maximum.)